# New Califes types BPMs installed in the TBTS

## Patch panel in CLEX Gallery – Crate BY064-XG

Front view

078

077

076

From cable:

From cable:

BPM0725

To crate ELN2

Sum

Hor.

Vert.

To crate ELN1

BPM0745

075

074

073

## CA.BPM0745 hybrid electronic in CLEX

061

062

060

Sum

Hor.

Vert.

| Cable connection in Gallery under crate BY033-XG |  |  |
| --- | --- | --- |
| Horizontal | 060 | 073 |
| Sum | 061 | 074 |
| Vertical | 062 | 075 |

## CA.BPM0725 hybrid electronic in CLEX

065

063

064

Sum

Vert.

Hor.

| Cable connection in Gallery under crate BY033-XG |  |  |
| --- | --- | --- |
| Horizontal | 063 | 076 |
| Sum | 064 | 077 |
| Vertical | 065 | 078 |